The following are recommended changes to NSF/ANSI 61.  Additions are indicated by highlighting.  Additional suggested changes are in blue and red text from Pete Greiner.

[“Track-changed” items denote differences between the last (v3) and this (v4) version of the proposal]







3.2 Information and formulation requirements







– complete formulation information for each water contact material as applicable’

NOTE – The complete formulation information may be omitted for a component material if the generic material type is contained in Table 3.1 and its diluted surface area in the application is less than or equal to 0.001 in2/L or 0.0001 in2/L for static or flowing conditions respectively.  If the product is to be considered compliant to a no lead content standard, the lead content (percent by weight) and wetted surface area of each component that comes into contact with the direct flow of water under the normal operation of the product is required. Complete documentation shall be submitted in accordance with the annex G.







3.5	Restriction on use of lead containing materials

There shall be no lead added as an intentional ingredient in any product, component, or material submitted for evaluation to this standard, with the following exceptions:

- Brass or bronze meeting the definition of “lead free” under the specific provisions of the Safe Drinking Water Act of the United States.

- Trace amounts required for operation of products used to monitor the characteristics of drinking water, such as the glass membranes used with some selective ion or pH electrodes.

- Materials of components with a diluted surface area less than or equal to 0.0001 in2/L.

Note – To the maximum extent possible, lead should not be added as an intentional in any product covered by the scope of this standard.  The exception above relative to the diluted surface area has only been included in recognition of formulation information exemption for applications with this condition.

3.6	Weighted average lead Content of Products

Products being evaluated for weighted average lead content shall evaluated in accordance with annex G.







Annex G

(normative)

IMPORTANT NOTE:  All text in Annex G is new to Std 61 and would normally be highlighted in this document.  For clarity of changes, highlighting of text is only provided for additions since the last version circulated  – P. Greiner

Weighed average lead content evaluation procedure to a 0.25% lead requirement

G.1 General

This is an optional evaluation method for products that need to meet a 0.25% weighted average lead content standard.  Certification of products to this annex shall be noted in the certification listing and shall be discernable with the product marking.

Products certified to the requirements of this section shall also comply with the full requirements of NSF/ANSI Standard 61.

G.2 General Evaluation Protocol

G.2.1 	All components ≤0.25%

If each component of a product has a wetted surface with a verifiable lead content of not more than 0.25%, then the product is considered compliant with the requirements of this annex and no further evaluation is required.

G.2.2 	Some components ≥ 0.25%

If some wetted components of a product contain more than 0.25% lead, then the leaded components can be replaced with non-lead components in order to meet the requirements of this annex; or the weighted lead content shall be calculated according to G.3 to determine compliance.

G.3 	Weighted average lead content calculation

The weighted average lead content of the wetted component of a product can be calculated using information that is provided as part of the manufacturer’s submittal under section 3.2.

All of the wetted surfaces are to be included in the weighted average lead content calculation, not just those surfaces that contain lead. If the weighted average lead content is greater than 0.25%, the manufacturer can replace wetted components containing lead with non-lead materials until the weighted average lead content is less than or equal to 0.25%.

Note - Using a weighted average lead content allows the product manufacturer to use some components that contain more than 0.25% lead, so long as the weighted average lead content is not more than 0.25%.

The certifying agency will verify the accuracy of the calculation and check to ensure the product meets the 0.25% weighted average lead content requirement.

G.3.1   Formula for determining weighted average lead content

The following formulation shall be used when calculating the weighted average lead content of products:

WLC  =



c = 1

LCc    x

[

WSAc



t = 1

]

(

)

n

n

WSAt

where;

WLC	=	weighted average lead content of product

LC	=	percentage lead content of component

WSA	= 	wetted surface area of component

n	=	number of wetted components in product

##### Note – Formula derived from example calculation proved by R. Sykes.  An example calculation of the weighted average lead content of a product is provided in section G.5

##### G.4	Lead content of water contact surfaces

The lead content of the material specification used to produce wetted components shall be used to determine compliance with this standard.  For lead contents of materials that are provided as a range, the maximum content of the range shall be used.

G.4.1    Use of Liners:  When lead-bearing surfaces have been excluded from water contact by use of a rigid liner (e.g. plastic sleeve) sealed with a permanent barrier, the lead content of the liner shall be used.

G.4.2    Use of coatings:  A permanent coating may be used to cover lead bearing surfaces, and may be considered the wetted surface material if the manufacturer can prove durability from corrosion, erosion, and adhesion loss of that coating for at least as long as the useful life of the product.  The evaluation of the coating durability shall be determined in accordance with section 6.

The lead content of components using coatings meeting the requirements of this section shall be based on the lead content of the coating.  When coatings are used that have not been demonstrated as meeting the requirements of this section, the lead content of the coated substrate shall be used.

G.4.3	Use of lead removal technologies:

Greiner Comment:  I don’t know the direction to be taken on this issue, but have provided example content that could be used based on the direction given to the task group.

If not to be considered during the calculation…

For components where the wetted surface areas have been treated with a lead removal technology, the percent lead composition shall be based on the material used to manufacture the component prior to application of the surface treatment.

If allowed to be considered during the calculation…

For components where the wetted surface areas have been treated with a lead removal technology, the percent lead composition for that component may be based on […?  percent lead composition within the ___ (depth)of the component surface] provided the manufacturer can prove effectiveness of the lead removal technology for at least as long as the useful life of the product.  The evaluation the effectiveness of the lead removal technology may be determined through use of […?]

When surface treatments are used that have not been demonstrated as meeting the requirements of this section, the lead content shall be based on the material used to manufacture the component prior to application of the surface treatment.

G.5 	Example weighted average lead content calculation

The following is an example of how this weighted average lead content calculation is conducted.

1. 	Identify those components of the faucet that water flows through and comes into contact with during the normal operation (wetted components).

2. 	Use the percentage of lead content within each component (supplied by the component manufacturer or supplier). Table G1 – column 4 provides the lead content for each of the wetted components.

3. 	Determine the percent of total wetted surface area represented in each component using the part specifications.

a. 	The wetted surface area of each component that comes into direct contact with water is required under 3.2 (to be provided by the manufacturer). Table G1 - column 2 shows the wetted surface area of the subject faucet.

b. 	Add the areas of the wetted surface for each component together: this is the total wetted surface area of the faucet.

c. 	For each component, divide the area of its wetted surface by the total wetted surface area of the faucet (times 100): this is the percent of total wetted surface area of each component (see Table G1 – column 3).

Percent wetted surface area =Wetted surface area of componentTotal wetted surface area

4. 	For each component, multiply the percentage of lead content by the percent of total wetted surface area of that component: this is the contributing percent lead for each component (see Table G1 – column 5).

Contributing percent lead = Percent wetted surface area x Percent lead content

5. 	Calculate the weighted average lead content of the faucet by totaling the contributing percent lead for the components that make up the wetted surface of the faucet (Table G1 – column 5). For the faucet to be in compliance with the new lead standard, this total must be no more than 0.25%.

G.6	Coating durability

Note:  Section 6 is under development.  Refer to (… location of rationale text …) for information on the key principles and use assumptions guiding the developmental of these requirements.

G.6.1	Section 9 products and section 8 in-line devices with a nominal ID less than 0.75 in

The durability of coating over the expected service life of the product shall be evaluated for corrosion and erosion resistance and adhesion.  The expected life of plumbing products shall be determined from the following reference:

- “Study of Life Expectancy of Home Components”,

National Association of Home Builders, 2007

G.6.1.1	Coating corrosion and erosion resistance

Evaluate the coating for corrosion and erosion through an accelerated durability test with water flowing at 2.5 gpm continuously for 12 weeks.  Measurement of the coating thickness before and after the durability test shall be used to project the life of the coating.

The Challenge Water shall be selected from one or more of the water chemistries in Table G2, taking into account which of these is most aggressive for the particular coating type:

G.6.1.2	Coating adhesion

Three (3) samples of each coated product shall be subjected to thermocycle adhesion of the coating to the substrate as follows:

For Metallic Coatings – each product shall be heated to 180 ˚F for ½ hour and quenched in a container of water at ambient room temperature.  Failure shall be evidence that the coating may be pealed away from the substrate.

For Organic Coatings – each product shall be thermally cycled from 180˚F to 70˚F 10 times with water passing through.   Failure shall be evidence that the coating may be pealed away from the substrate.

G.6.2	Other devices

The lead content of components of products covered by this section shall be based on the lead content of the uncoated substrate.

Note – At the time of writing this version of the annex, methodologies for the detrmination of coating durability had not been provided for products .  Prior to considering the acceptability of durable coatings on products covered by this section, a methodilogy must be established  in this standard.

Table G1.  Example of weighted average lead content calculations.

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
| Component No. | Wetted surface area1 (total = 61.94 in2) | % wetted surface area (total = 100%) | % lead content | Contributing % lead |
| 1 | 17.31 | 27.95 | 0.05 | 0.01 |
| 2 | 1.15 | 1.85 | 2.86 | 0.05 |
| 3 | 4.99 | 8.05 | 0.23 | 0.02 |
| 4 | 18.25 | 29.46 | 0.05 | 0.01 |
| 5 | 11.14 | 17.98 | 0 | 0.00 |
| 6 | 4.02 | 6.49 | 0 | 0.00 |
| 7 | 1.09 | 1.75 | 1.30 | 0.02 |
| 8 | 0.54 | 0.87 | 0 | 0.00 |
| 9 | 0.91 | 1.48 | 2.54 | 0.04 |
| 10 | 0.76 | 1.23 | 0 | 0.00 |
| 11 | 1.02 | 1.64 | 2.54 | 0.04 |
| 12 | 0.35 | 0.56 | 2.54 | 0.01 |
| 13 | 0.43 | 0.69 | 2.54 | 0.02 |
| ###### Weighted average lead content = |  |  |  | 0.23% (in compliance) |

|  |  |  |  | mL of solution1,2 per liter total volume |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Water # | Water Description3 |  |  | Solution A |  | Solution B |  | Solution C |  | Solution D |  | Solution E |
| 1 | Low pH, low alkalinity |  |  | 10 |  | 0.95 |  | 0 |  | 0 |  | 0 |
| 2 | Low pH, higher alkalinity |  |  | 100 |  | 9.55 |  | 0 |  | 0 |  | 0 |
| 3 | Basic water, low alkalinity |  |  | 0 |  | 0 |  | 0 |  | 0.023 * |  | 20 |
| 4 | Basic water, high alkalinity |  |  | 100 |  | 0.13 |  | 0 |  | 0 |  | 0 |
| 5 | High pH, soft water |  |  | 0 |  | 0.55 |  | 10 |  | 50 |  | 0 |
| 1 – Chlorine residual of 2 mg/L added to test water through addition of sodium hypochlorite. 2 – Solution compositions as follows; |  |  |  |  |  |  |  |  |  |  |  |  |
| Solution A |  | 0.1 M NaHCO3 |  |  |  |  |  |  |  |  |  |  |
| Solution B |  | 1 M HCl |  |  |  |  |  |  |  |  |  |  |
| Solution C |  | 0.1 M Na2CO3 |  |  |  |  |  |  |  |  |  |  |
| Solution D |  | 0.01 M HCl |  |  |  |  |  |  |  |  |  |  |
| Solution E |  | 0.01 M NaHCO3 |  |  |  |  |  |  |  |  |  |  |
| 3 – Example water characteristics (Source: “Extraction Water Justification Report”, M. Schock, 1991) |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Water #1 |  | Water #2 |  | Water #3 |  | Water #4 |  | Water #5 |  |
| pH |  |  | 5 |  | 5 |  | 8 |  | 8 |  | 10 |  |
| Total Alkalinity (CaCO3/L) |  |  | 2 |  | 21 |  | 12 |  | 500 |  | 73 |  |
| Hardness (CaCO3/L) |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |
| Dissolved Inorganic Carbon (mg C/L) |  |  | 12 |  | 120 |  | 2 |  | 120 |  | 12 |  |
| Orthophosphate (mg/L) |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |
| Borate (mg/L) |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |
| Sodium (mg/L) |  |  | 23 |  | 230 |  | 5 |  | 230 |  | 46 |  |
| Chloride (mg/L) |  |  | 34 |  | 339 |  | 0 |  | 5 |  | 37 |  |
| Chlorine (mg/L) |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  |

Table G.2 Durability test water chemistries